SPECIFICATIONS

RIGAKU MINIFLEX 6G BENCHTOP X-RAY DIFFRACTION (XRD) INSTRUMENT

The NYPD is seeking a Rigaku Americas (“Rigaku”) MiniFlex 6G Benchtop X-Ray Diffraction (XRD) Instrument. For this Request for Information (RFI), NYPD is asking vendors to submit proof that your company has the legal authority to resell and deliver this brand-specific instrument with the following main components:

a. Mini Flex 6G - Internal Heat Ex.changer- PN: A00010822

b. X-ray Tube, Cu, Glass, Fine Focus. 1.0 kW - PN: 9407F202

c. OlteX Ultra2 Detector- PN: A00007469

d. PC System - Miniflex - PN: 1002018-0495

e. SmartLab Studio II Software PN: A000090S8

f. SLSIJ Powder Basic XRD Plug-in - PN: A00002241

g. SLSII Powder Search- PN: A00002242

h. NIST Standard - SRM 1976c Alumina Plate - PN: AOO0 11772

i. lCDD PDF-2 Database -10 Year Commercial License -PN: XD-PDF2-CMRJO